Shopping Center 		Prado

Status   	Vacant Unit

Power             120/208 Volt,   225 AMP   3 phase

Water Service Size 			¾”

AC Unit – RTU / Split

Manufacturer 		Rheem

Model #

Serial #

Size 	4 Ton

Year Manufactured / Installed 	2021

AC Unit – RTU / Split

Manufacturer 		Rheem

Model #

Serial #

Size 	4 Ton

Year Manufactured / Installed 	2021

Unit Length 		80’-0”

Unit Width 		24’-2”

Unit Area  		1,934 sq. ft.

Height to drop ceiling 		9’-11”

Height to Bottom of Truss  	19’-5”

Height to Metal Deck 		21’-4”

Comment: 	Previously:  The Strand Hair Salon

Floor Plan: 	Attached

Unit 	                      25161/ Suite 21